## Master List (hidden)
Category | Requirement Description | Notes | Priority | Vendor Response: Can meet requirments? | Vendor Response: Comments
Mandatory | Intercom from multiple locations in administration to classrooms, zones or site wide. | Communication to and from admin to individual classrooms or to an area or block (zones), or for an all call. | Must Have
Mandatory | Allow for off site speaker to address school. | Allow for individual from off site to address the facility after being cleared by access control. | Must Have
Mandatory | Able to interrupt other audio systems when intercom is directed to an area. |  | Must Have
Mandatory | Speaker to wear personal microphone that transmits to speakers within a room or area. |  | Must Have
Mandatory | Speaker to include "panic button" to be combined with safety and security below |  | Must Have
Features | Can allow more than one user to share the same set of speakers. |  | Nice to Have
Mandatory | Once panic button is pushed, it will notify the administration of the incident |  | Must Have
Features | Once panic button is activated, the system will locate the user. |  | Nice to Have
Features | Allow 2-way communication |  | Nice to Have
Mandatory | System can recognize which panic button is pushed |  | Must Have
Miscellanous | Device Visibility, Inventory, and Lifecycle Management
Technical | Network Segmentation
Technical | Threat Detection and Incident Response
Technical | Standards Compliance and Reporting
Miscellanous | Physical Security
Qualifications | Third-Party and Supply Chain Risks
Training | ASD Technician training maintenance and troubleshooting |  | Must Have
Support | Warranty
Support | Spare Parts
Support | Service Calls
Support | Remote support options
Qualifications | Manufacturer certification for ASD
Technical | Integration with other systems
Technical | Offline operation
Support | Mapping and programming changes
Qualifications | History/deployed systems - Alaska, elsewhere
Features | Structured cabling | System shall adhere to ASD structued cableing standards and telecom zones | Must Have
Features | UPS standby time | Minimum time requirement | Must Have
Technical | SNMP Monitoring | Need to integrate with equipment on the monitoring side | Nice to Have
Mandatory | No physical server on-site (Cloud-based) | ASD does NOT want to have to maintain a server; software updates, etc.. | Must Have
Features | Classroom level volume control | This is a common request from teachers (turn up or turn down). May be that the volume is adjusted at the office. Classrooms MUST NOT be able to mute the volume. | Nice to Have
Technical | Access Control And Authentication: need to be able to use SAML and/or OIDC and map directory groups to roles. |  | Must Have
Technical | Lifecycle management | Defined process for regular updates, patches, methodology responding quickly to vulnerabilities, etc | Must Have
Technical | 30w power requirement for end devices (maximum POE+) | Managed injector | Must Have
Support | Implementation and post go-live training | Vendors document training and support | Must Have
Support | Continuity of use for substitutes (et al) who are in building intermittently | Guest access via admin console with laminated cheat sheet with control instructions | Must Have
Features | What are accessibility requirements/standards |  | Must Have
Technical | Does [vendor] have any documented standards regarding the storage and transmission of authentication credentials they can share with us? |  | Must Have
Support | Does [vendor] have any service level targets or service level agreements for [product], for service delivery (e.g. availability) and for support (e.g. response time)? |  | Must Have
Technical | Is licensing for the [product] based per device, location, or flat fee? | Please explain | Must Have
Technical | Does [vendor] have appropriate encryption during transmission and secured data servers? |  | Must Have
Technical | Is the [product] capable of applying suppressions to data exposed for public consumption? |  | Must Have
Features | Is the [product] mobile device friendly? Does it have responsive design? | App or mobile website is acceptable | Nice to Have
Support | What is the warranty lifecycle? | If device is damaged or defective, replacement must integrate with existing system. What is the warranty term? | Must Have
Support | Does [vendor] have the ability to agree to a maximum annual uplift of 3% with regards to fees charged in subsequent periods after the duration of the quote? |  | Must Have
Technical | What are the network requirements (will we need filtering excpetions for product, including any 3rd party products used) |  | Must Have
Support | Are any developmental or support components of [vendor] located outside of the United States? |  | Must Have
Support | How does [vendor] handle change management and change notifications for [product]? |  | Must Have
Support | How does [vendor] handle problem management when addressing incidents that share a common root cause? |  | Must Have
Technical | What data security, storage and hosting is used by [vendor]? |  | Must Have
Support | What length of time does [vendor] allow to notify customers of system vulnerabilities? |  | Must Have
Support | What length of time does [vendor] allow to implement patches or other remediation once vulnerabilities have been identified? |  | Must Have
Support | Does [vendor] have a detailed disaster recovery process in place and does it perform DR drills on a schedule? Can [vendor] provide information what DR plan looks like? |  | Must Have
Support | Is [vendor] customer support available for Alaska work hours? What is the support coverage? |  | Must Have
Support | Does [vendor] provide phone, email and service desk system for support? Is Service Desk client portal available where ASD can login and see all open/closed tickets? |  | Must Have
Support | What is your contract language around data destruction and data transfer upon terminate? |  | Must Have
Technical | Does the [product] require any special software installation, add-ons or extensions? | Would prefer not to have additional installtions | Nice to Have
Mandatory | Does [vendor] provide cloud based hosting setup for the [product]? |  | Must Have
General | How many concurrent sessions/simultaneous connections are expected? Are the max concurrent session counts under 40 per client? |  | Nice to Have
Support | Does [vendor] have a dedicated personnel that communicates with clients regarding license compliance and renewals? How does [vendor] communicate with clients? |  | Nice to Have
Support | Will deactivating an account cause a loss of data associated with that account? |  | Nice to Have
Technical | For new user, are there any additional manual steps that need to occur to activate the account after the auto import creates the account? |  | Nice to Have
Technical | Can multiple locations be assigned to user (staff/students) given that user has a unique identifier? |  | Nice to Have
Technical | Does [vendor] have a way to access data through a query? |  | Nice to Have
Technical | Do you have data integrity checks in place and can you share more details? Do you provide reports to client related to audits for data quality issues and errors for [product]? |  | Nice to Have
Technical | Does the system provide ability for client to create custom reports/views inside the [product]? | Ability to set custom permissions for ASD built reports | Nice to Have
Technical | Does the system provide ability for client to set custom permissions to the custom reports/views inside the [product]? |  | Nice to Have
Technical | Does the system provide ability for client to add/set custom alert messages and notifications to users of the [product]? |  | Nice to Have
Technical | Does [vendor] provide ability for client to bring additional data after initial integration and new report creation based on new data? |  | Nice to Have
Mandatory | Allow staff to link their accounts to this system for single sign on Additionally allow single sign on for management users by utilizing district AD. Must be able to authenticate with SAML 2.0 or OIDC |  | Must Have
Technical | Which authentication methods are used? AZURE AD, ADFS, LDAP, local system accounts, other (please specify)? |  | Must Have
Technical | What are the minimum bandwidth requirements per client/session. What is the peak usage? Please provide requirements or link to requirements Is the per-client bandwidth need below 15Mbps? |  | Nice to Have
Technical | Do staff accounts in the [product] support multifactor authentication? |  | Nice to Have
Technical | What data can be auto provisioned for the [product]? For example: user accounts, roles, groups, locations, etc. Please provide details |  | Nice to Have
Technical | If user (staff/students) has left [client], are their accounts automatically deactivated in the [product] so user no longer has access to [product]? |  | Nice to Have
Technical | Is it possible to create exceptional user accounts for staff that need access in the system but are not auto provisioned? |  | Nice to Have
Technical | Can data be transferred between user accounts when user main identifier changes? |  | Nice to Have

## IT (hidden)
Category | Description | Notes | Priority
Accessibility | What are accessibility requirements/standards |  | Must Have
Accessibility | Does [vendor] have any documented standards regarding the storage and transmission of authentication credentials they can share with us? |  | Must Have
Availability | Does [vendor] have any service level targets or service level agreements for [product], for service delivery (e.g. availability) and for support (e.g. response time)? |  | Must Have
Compatibility | Is licensing for the [product] based per device, location, or flat fee? | Please explain | Must Have
Compatibility | Does [vendor] have appropriate encryption during transmission and secured data servers? |  | Must Have
Compatibility | Is the [product] capable of applying suppressions to data exposed for public consumption? |  | Must Have
Compatibility | Is the [product] mobile device friendly? Does it have responsive design? | App or mobile website is acceptable | Nice to Have
Durability | What is the warranty lifecycle? | If device is damaged or defective, replacement must integrate with existing system. What is the warranty term? | Must Have
General | Does [vendor] have the ability to agree to a maximum annual uplift of 3% with regards to fees charged in subsequent periods after the duration of the quote? |  | Must Have
General | What are the network requirements (will we need filtering exceptions for product, including any 3rd party products used) |  | Must Have
General | Are any developmental or support components of [vendor] located outside of the United States? |  | Must Have
General | How does [vendor] handle change management and change notifications for [product]? |  | Must Have
General | How does [vendor] handle problem management when addressing incidents that share a common root cause? |  | Must Have
General | What data security, storage and hosting is used by [vendor]? |  | Must Have
General | What length of time does [vendor] allow to notify customers of system vulnerabilities? |  | Must Have
General | What length of time does [vendor] allow to implement patches or other remediation once vulnerabilities have been identified? |  | Must Have
General | Does [vendor] have a detailed disaster recovery process in place and does it perform DR drills on a schedule? Can [vendor] provide information what DR plan looks like? |  | Must Have
General | Is [vendor] customer support available for Alaska work hours? What is the support coverage? |  | Must Have
General | Does [vendor] provide phone, email and service desk system for support? Is Service Desk client portal available where ASD can login and see all open/closed tickets? |  | Must Have
General | What is your contract language around data destruction and data transfer upon termination? |  | Must Have
General | Does the [product] require any special software installation, add-ons or extensions? | Would prefer not to have additional installtions | Nice to Have
General | Does [vendor] provide cloud based hosting setup for the [product]? |  | Must Have
General | How many concurrent sessions/simultaneous connections are expected? Are the max concurrent session counts under 40 per client? |  | Nice to Have
General | Does [vendor] have a dedicated personnel that communicates with clients regarding license compliance and renewals? How does [vendor] communicate with clients? |  | Nice to Have
General | Will deactivating an account cause a loss of data associated with that account? |  | Nice to Have
General | For new user, are there any additional manual steps that need to occur to activate the account after the auto import creates the account? |  | Nice to Have
General | Can multiple locations be assigned to user (staff/students) given that user has a unique identifier? |  | Nice to Have
General | Does [vendor] have a way to access data through a query? |  | Nice to Have
General | Do you have data integrity checks in place and can you share more details? Do you provide reports to client related to audits for data quality issues and errors for [product]? |  | Nice to Have
General | Does the system provide ability for client to create custom reports/views inside the [product]? | Ability to set custom permissions for ASD built reports | Nice to Have
General | Does the system provide ability for client to set custom permissions to the custom reports/views inside the [product]? |  | Nice to Have
General | Does the system provide ability for client to add/set custom alert messages and notifications to users of the [product]? |  | Nice to Have
General | Does [vendor] provide ability for client to bring additional data after initial integration and new report creation based on new data? |  | Nice to Have
Integration | Allow staff to link their accounts to this system for single sign on Additionally allow single sign on for management users by utilizing district AD. Must be able to authenticate with SAML 2.0 or OIDC |  | Must Have
Integration | Which authentication methods are used? AZURE AD, ADFS, LDAP, local system accounts, other (please specify)? |  | Must Have
Integration | What are the minimum bandwidth requirements per client/session. What is the peak usage? Please provide requirements or link to requirements Is the per-client bandwidth need below 15Mbps? |  | Nice to Have
Integration | Do staff accounts in the [product] support multifactor authentication? |  | Nice to Have
Integration | What data can be auto provisioned for the [product]? For example: user accounts, roles, groups, locations, etc. Please provide details |  | Nice to Have
Integration | If user (staff/students) has left [client], are their accounts automatically deactivated in the [product] so user no longer has access to [product]? |  | Nice to Have
Integration | Is it possible to create exceptional user accounts for staff that need access in the system but are not auto provisioned? |  | Nice to Have
Integration | Can data be transferred between user accounts when user main identifier changes? |  | Nice to Have

## ATT C Mandatory
ATTACHMENT C: MANDATORY REQUIREMENTS
Item # | Category | Requirement Description | Vendor Response: Can meet requirements? Yes or No | Vendor Response: Comments
C1 | Mandatory | System shall communicate on the BACnet protocol natively and be BTL listed.
C2 | Mandatory | System shall include graphic package including a depiction of mechanical systems with all physical inputs and outputs in a way that is logically consistent with mechanical and architectural design.
C3 | Mandatory | The building management platform shall be accessible wherever an ASD network connection is possible for remote control and monitoring.
C4 | Mandatory | System shall be capable producing alarms with different priority and alarm descriptions. Critical level alarms shall include remote notification capability.
C5 | Mandatory | Full administrative access shall be provided to ASD to modify programming and reconfigure the system architecture as necessary.
C6 | Mandatory | System shall include trending of all physical inputs and outputs. System shall include capability to trend virtual inputs and outputs. Trending data shall be available to long term storage on ASD servers.
C7 | Mandatory | Physical controller hardware shall be accessible locally. ASD staff shall be provided all software and training to make direct connection and modifications of devices.
C8 | Mandatory | System object/device/point naming shall allow for naming to include building identifier to allow for monitoring of multiple facilities without overlaping naming.
C9 | Mandatory | System shall including equipment scheduling functionality with a preference towards ease in bulk editing operations. Schedules must be easy to modify, view, and maintain, displaying clearly occupied and unoccupied times and status of equipment in a daily, weekly, and monthly format.
C10 | Mandatory | System shall include backup/restore function for individual controllers or the entire database if necessary.
C11 | Mandatory | Controllers shall be capable of working "stand alone" in the event that communication to the database server is not present.
C12 | Mandatory | Data export functionality shall support non proprietary formats, such as .csv, .txt, or an API.
C13 | Mandatory | System shall support role based access control.
C14 | Mandatory | System shall support scalability to include up to 90 buildings. Pricing structure shall be transparent for a system of this size so that ASD can effectively evaluate long term costs.
C15 | Mandatory | Front end software shall be compatible with latest version of Windows server and be capable of functioning in a virtual environment.
C16 | Mandatory | Vendor shall provide a documented hardening guide concerning cyber security.
C17 | Mandatory | Vendor must demonstrate that equipment and design can meet the environmental challenges of Anchorage Alaska efficiently and robustly. Prior successful installations in similar cold weather climates must be present with the current line of hardware that is being utilized.
C18 | Mandatory | Vendor must demonstrate a high level of service and technical support to meet the extensive needs of a large scale operation. A maximum four hour response time for critical issues and a minimum of three certified service technicians available locally.
C19 | Mandatory | Vendor must hold an Alaska business license.